FOSKOR MINING DIVISION

an Operating Division of FOSKOR (PTY) LTD

[hereinafter referred to as Foskor]

[Registration No. 1951/002918/07]

FOR THE SUPPLY, INSTALLATION AND COMMISSIONING OF (MS-1) XLPE (PEX) CABLES FOR A PERIOD OF [SIX (6) MONTHS.

RFP NUMBER 		:	FOSPHB-RFP-13-25/26

ISSUE DATE		:	12 June 2025

CLOSING DATE		:	08 July 2025

CLOSING TIME		:	12:00

BID VALIDITY PERIOD	:	180 Business Days from Closing Date, 24 March 2026

NOTE TO BIDDERS: ALL SUBMISSIONS MUST INCLUDE A USB FLASH DRIVE/MEMORY STICK THAT CONTAINS YOUR BID SUBMISSION ON THE CLOSING DATE AND TIME AS A MANDATORY REQUIREMENT. The submitted USB containing the soft copy of the RFP, must be an exact copy or duplicate of the hard copy response. Both submitted hard and soft copies will be reviewed and cross referenced to ensure that no submitted documents are missed. However, in the event that the soft copy submission is not an exact duplication of the hard copy, the hard copy submission will supersede the soft copy and will be used in the evaluation process.

Tenders sent directly to buyers or any other personnel in Foskor by any means of communication will not be accepted.

SCHEDULE OF BID DOCUMENTS

Section No 	Page

SECTION 1: SBD 1 FORM	2

SECTION 2 : NOTICE TO BIDDERS	4

SECTION 3: BACKGROUND, OVERVIEW AND SCOPE OF REQUIREMENTS	9

SECTION 4: PRICING AND DELIVERY SCHEDULE	18

SECTION 5: PROPOSAL FORM AND LIST OF RETURNABLE DOCUMENTS	21

SECTION 6: CERTIFICATE OF ACQUAINTANCE WITH RFP, FOSKOR STANDARD TERMS AND CONDITIONS & APPLICABLE DOCUMENTS	25

SECTION 7: RFP DECLARATION AND BREACH OF LAW FORM	26

SECTION 8: RFP CLARIFICATION REQUEST FORM	31

SECTION 9: B-BBEE PREFERENCE POINTS CLAIM FORM	32

SECTION 10: CERTIFICATE OF ATTENDANCE OF NON-COMPULSORY RFP BRIEFING	37

SECTION 12: SBD 5	38

SECTION 13: PROTECTION OF PERSONAL INFORMATION	41

RFP ANNEXURES:

ANNEXURE A	SPECIFICATIONS/SCOPE OF WORK

ANNEXURE B	 PRICE SCHEDULE

ANNEXURE C	MASTER AGREEMENT /FOSKOR STANDARD TERMS AND CONDITIONS

ANNEXURE D	FOSKOR’S GENERAL BID CONDITIONS

ANNEXURE E 	FOSKOR’S SUPPLIER INTEGRITY PACT

ANNEXURE F	NON-DISCLOSURE AGREEMENT

# SECTION 1: SBD 1 FORM

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (NAME OF DEPARTMENT/ PUBLIC ENTITY) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | FOSPHB-RFP-13-25/26 |  |  | CLOSING DATE: |  | 08 JULY 2025 |  |  | CLOSING TIME: |  |  | 12:00 |
| DESCRIPTION | SUPPLY, INSTALLATION AND COMMISSIONING OF (MS-1) XLPE (PEX) CABLES |  |  |  |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS) |  |  |  |  |  |  |  |  |  |  |  |  |
| RESPONDENTS ARE TO SUBMT THEIR BID RESPONSES IN THE TENDER BOX AT THE RECEPTION OF THE FOLLOWING PHYSICAL ADDRESS: Physical Address: Foskor Phalaborwa 27 Selati Road Phalaborwa 1389 |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO |  |  |  |  | TECHNICAL ENQUIRIES MAY BE DIRECTED TO: |  |  |  |  |  |  |  |
| CONTACT PERSON |  | Thandi Mngomezulu |  |  | CONTACT PERSON |  |  |  |  |  | Thandi Mngomezulu |  |
| TELEPHONE NUMBER |  | 011 347-0608 |  |  | TELEPHONE NUMBER |  |  |  |  |  | 011 347-0608 |  |
| FACSIMILE NUMBER |  | None |  |  | FACSIMILE NUMBER |  |  |  |  |  | None |  |
| E-MAIL ADDRESS |  | ThandiMn@foskor.co.za |  |  | E-MAIL ADDRESS |  |  |  |  |  | ThandiMn@foskor.co.za |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  |  | CODE |  |  | NUMBER |  |  |  |  |  |  |
| CELL PHONE NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  |  | CODE |  |  | NUMBER |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |
| SUPPLIER COMPLIANCE STATUS |  |  | TAX COMPLIANCE SYSTEM PIN: |  | OR |  | CENTRAL SUPPLIER DATABASE No: | MAAA |  |  |  |  |
| #### ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES OFFERED? |  |  | ☐Yes ☐No [IF YES ENCLOSE PROOF] |  | #### ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES OFFERED? |  |  |  |  | ☐Yes ☐No [IF YES, ANSWER THE QUESTIONNAIRE BELOW] |  |  |
| QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS |  |  |  |  |  |  |  |  |  |  |  |  |
| IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? ☐ YES ☐ NO DOES THE ENTITY HAVE A BRANCH IN THE RSA? ☐ YES ☐ NO DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? ☐ YES ☐ NO DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? ☐ YES ☐ NO IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? ☐ YES ☐ NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 BELOW. |  |  |  |  |  |  |  |  |  |  |  |  |

## PART B

## TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED (NOT TO BE RE-TYPED) OR IN THE MANNER PRESCRIBED IN THE BID DOCUMENT. - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT, 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT. - THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (SBD7).

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VERIFY THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR TAX COMPLIANCE STATUS (TCS) PIN MAY BE MADE VIA E-FILING THROUGH THE SARS WEBSITE WWW.SARS.GOV.ZA. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED; EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS PIN IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED. - NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE, COMPANIES WITH DIRECTORS WHO ARE PERSONS IN THE SERVICE OF THE STATE, OR CLOSE CORPORATIONS WITH MEMBERS PERSONS IN THE SERVICE OF THE STATE.”

NB: FAILURE TO PROVIDE / OR COMPLY WITH ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:		……………………………………………

(Proof of authority must be submitted e.g. company resolution)

DATE:								……………………………

# SECTION 2 : NOTICE TO BIDDERS

- INVITATION TO BID

Responses to this RFP [hereinafter referred to as a Bid or a Proposal] are requested from persons, companies, close corporations or enterprises [hereinafter referred to as an entity, Respondent or Bidder].

| DESCRIPTION | Supply, Installation and Commissioning of (MS-1) XLPE (PEX) Cables |
| --- | --- |
| TENDER ADVERT | Foskor tenders are advertised on the National Treasury e-tender Portal, CIDB i-tender Portal and the Foskor website. |
| COMMUNICATION | Foskor will publish the outcome of this RFP on the National Treasury e-tender portal, CIDB i-tender portal and the Foskor website within 10 days after the award has been finalised. All unsuccessful bidders have a right to request for reasons for their bid not being successful. This request must be directed to the contact person stated in the SBD 1 form. Any addenda to the RFP or clarifications will be published on the National Treasury e-tender portal, CIDB i-tender portal (where applicable) and the Foskor website. Bidders are required to check the National Treasury e-tender portal, CIDB i-tender portal (where applicable) and the Foskor website prior to finalising their bid submissions for any changes or clarifications to the RFP. Foskor will not be held liable if Bidders do not receive the latest information regarding this RFP with the possible consequence of either being disadvantaged or disqualified as a result thereof. |
| BRIEFING SESSION | Yes, Non-compulsory Bidders are required to confirm their attendance and to send their contact details including the number of representatives (max. 2), where applicable to the following address: [ThandiMn@foskor.co.za] This is to ensure that Foskor may make the necessary arrangements for the briefing session. Refer to paragraph 2 for details. |
| CLOSING DATE | 12:00 pm on Tuesday, 08 July 2025 Bidders must ensure that bids are submitted timeously. If a bid is late, it will not be accepted for consideration. |
| VALIDITY PERIOD | 180 Business Days from Closing Date 24 March 2026) Bidders are to note that they may be requested to extend the validity period of their bid, at the same terms and conditions, if the internal evaluation process has not been finalised within the validity period. However, once the adjudication body has approved the process and award of the business to the successful bidder(s), the validity of the successful bidder(s)’ bid will be deemed to remain valid until a final contract has been concluded. Should a bidder fail to respond to a request for extension of the validity period before it expires, that bidder will be excluded from the tender process. With regard to the validity period of next highest ranked bidders, please refer to Section 2, paragraph 10.12 |

Any additional information or clarification will be published on the National Treasury e-tender portal, CIDB i-tender portal (where applicable) and the Foskor website, if necessary.

- FORMAL BRIEFING

A non-compulsory site visit and RFP briefing will be conducted. at Foskor Mine, Phalaborwa on Tuesday, 24 June 2025, at [9:00] for a period of ± 2hours.

[Respondents to provide their own transportation and accommodation]. The briefing session will start punctually, and information will not be repeated for the benefit of Respondents arriving late.

## Despite the briefing session being non-compulsory, Foskor nevertheless encourages all Respondents to attend. Foskor will not be held responsible if any Respondent who did not attend the non-compulsory session subsequently feels disadvantaged as a result thereof.

## Respondents are encouraged to bring a copy of the RFP to the site meeting and/or RFP briefing.

- RFP INSTRUCTIONS

## Please sign documents [sign, stamp and date the bottom of each page] before submitting them. The person or persons signing the submission must be legally authorised by the respondent to do so.

## All returnable documents tabled in the Proposal Form [Section 5] must be returned with proposals.

## Unless otherwise expressly stated, all Proposals furnished pursuant to this RFP shall be deemed to be offered. Any exceptions to this statement must be clearly and specifically indicated.

## Any additional conditions must be embodied in an accompanying letter. Subject only to clause 15 [Alterations made by the Respondent to Bid Prices] of the General Bid Conditions, paragraph 12 below (Legal Review) and Section 6 of the RFP, alterations, additions or deletions must not be made by the Respondent to the actual RFP documents.

- JOINT VENTURES OR CONSORTIUMS

  - Respondents who wish to respond to this RFP as a Joint Venture [JV] or consortium with B-BBEE entities, must state their intention to do so in their RFP submission. Such Respondents must also submit a signed JV or consortium agreement between the parties clearly stating the percentage [%] split of business and the associated responsibilities of each party. If at the time of the bid submission such a JV or consortium agreement has not been concluded, the partners must submit confirmation in writing of their intention to enter into a JV or consortium agreement should they be awarded business by Foskor through this RFP process. This written confirmation must clearly indicate the percentage [%] split of business and the responsibilities of each party. In such cases, award of business will only take place once a signed copy of a JV or consortium agreement is submitted to Foskor.

  - Respondents are to note that for the purpose of Evaluation, a JV will be evaluated based on one consolidated B-BBEE scorecard (a consolidated B-BBEE Status Level verification certificate) Preference points will be awarded to a bidder for attaining the requirements in accordance with the table indicated in Table 4.1 of the B-BBEE Preference Points Claim Forms.

- COMMUNICATION

  - For specific queries relating to this RFP, an RFP Clarification Request Form should be submitted onto the system and to Thandi Mngomezulu before 12:00 pm, Monday 30 June 2025 substantially in the form set out in Section 8 hereto. In the interest of fairness and transparency, Foskor’s response to such a query will be published on the National Treasury e-tender portal, CIDB i-tender portal (where applicable) and the Foskor website.

  - After the closing date of the RFP, a Respondent may only communicate with the AC Secretariat Ntwanano Mabulani, at telephone number 015 789 2151, email ntwananom@foskor.co.za on any matter relating to its RFP Proposal.

  - Respondents are to note that changes to its submission will not be considered after the closing date.

  - It is prohibited for Respondents to attempt, either directly or indirectly, to canvas any officer or employee of Foskor in respect of this RFP between the closing date and the date of the award of the business.

  - Respondents found to be in collusion with one another will be automatically disqualified and restricted from doing business with organs of state for a specified period.

  - Foskor will publish the outcome of this RFP in the National Treasury e-tender portal, CIDB i-tender portal (where applicable) and the Foskor website within 10 days after the award has been finalised. Respondents are required to check the Foskor website for the results of the tender process. All unsuccessful bidders have a right to request Foskor to furnish individual reasons for their bid not being successful. This requested must be directed to the contact person stated in the SBD 1 form.

- CONFIDENTIALITY

## All information related to this RFP is to be treated with strict confidence. In this regard Respondents are required to certify that they have acquainted themselves with the Non-Disclosure Agreement. All information related to a subsequent contract, both during and after completion thereof, will be treated with strict confidence. Should the need however arise to divulge any information related to this RFP or the subsequent contract, written approval must be obtained from Foskor.

- COMPLIANCE

The successful Respondent [hereinafter referred to as the Service provider shall be in full and complete compliance with any and all applicable laws and regulations.

- EMPLOYMENT EQUITY ACT

Respondents must comply with the requirements of the Employment Equity Act 55 of 1998 applicable to it including (but not limited to) Section 53 of the Employment Equity Act.

- DISCLAIMERS

Respondents are hereby advised that Foskor is not committed to any course of action as a result of its issuance of this RFP and/or its receipt of Proposals. In particular, please note that Foskor reserves the right to:

## modify the RFP’s Goods/Services and request Respondents to re-bid on any such changes;

## reject any Proposal which does not conform to instructions and specifications which are detailed herein;

## disqualify Proposals submitted after the stated submission deadline [closing date];8 July 2025

## award a contract in connection with this Proposal at any time after the RFP’s closing date;

## award a contract for only a portion of the proposed Goods/Services which are reflected in the scope of this RFP;

## split the award of the contract between more than one Supplier/Service provider, should it at Foskor’s discretion be more advantageous in terms of, amongst others, cost or developmental considerations;

## cancel the bid process;

## validate any information submitted by Respondents in response to this bid. This would include, but is not limited to, requesting the Respondents to provide supporting evidence. By submitting a bid, Respondents hereby irrevocably grant the necessary consent to Foskor to do so;

## request audited financial statements or other documentation for the purposes of a due diligence exercise;

## not accept any changes or purported changes by the Respondent to the bid rates after the closing date and/or after the award of the business, unless the contract specifically provided for it;

## to cancel the contract and/request that National Treasury place the Respondent on its Database of Restricted Suppliers for a period not exceeding 10 years, on the basis that a contract was awarded on the strength of incorrect information furnished by the Respondent or on any other basis recognised in law;

## to award the business to the next ranked bidder, provided that he/she is still prepared to provide the required Goods at the quoted price, should the preferred bidder fail to sign or commence with the contract within a reasonable period after being requested to do so. Under such circumstances, the validity of the bids of the next ranked bidder(s) will be deemed to remain valid, irrespective of whether the outcome of the tender has been published the outcome of the bid process on the National Treasury e-tender portal, CIDB i-tender portal (where applicable) and the Foskor website. Bidders may therefore be requested to advise whether they would still be prepared to provide the required Goods at their quoted price.

Note that Foskor will not reimburse any Respondent for any preparatory costs or other work performed in connection with its Proposal, whether or not the Respondent is awarded a contract.

- LEGAL REVIEW

A Proposal submitted by a Respondent will be subjected to review and acceptance or rejection of its proposed contractual terms and conditions by Foskor’s Legal Counsel, prior to consideration for an award of business. A material deviation from the Standard terms or conditions could result in disqualification.

- SECURITY CLEARANCE

Acceptance of this bid could be subject to the condition that the Successful Respondent, its personnel providing the Goods/Services and its subcontractor(s) must obtain security clearance from the appropriate authorities to the level of CONFIDENTIAL/ SECRET/TOP SECRET. Obtaining the required clearance is the responsibility of the Successful Respondent. Acceptance of the bid is also subject to the condition that the Successful Respondent will implement all such security measures as the safe performance of the contract may require.

- NATIONAL TREASURY’S CENTRAL SUPPLIER DATABASE

Respondents are required to self-register on National Treasury’s Central Supplier Database (CSD) which has been established to centrally administer supplier information for all organs of state and facilitate the verification of certain key supplier information. Respondents must register on the CSD prior to submitting their bids. Business may not be awarded to a Respondent who has failed to register on the CSD. Only foreign suppliers with no local registered entity need not register on the CSD.

- TAX COMPLIANCE

Respondents must be compliant when submitting a proposal to Foskor and remain compliant for the entire contract term with all applicable tax legislation, including but not limited to the Income Tax Act, 1962 (Act No. 58 of 1962) and Value Added Tax Act, 1991 (Act No. 89 of 1991).

It is a condition of this bid that the tax matters of the successful Respondents be in order, or that satisfactory arrangements have been made with South African Revenue Service (SARS) to meet the Respondents' tax obligations.

The Tax Compliance status requirements are also applicable to foreign Respondents/ individuals who wish to submit bids.

Where Consortia / Joint Ventures / Sub-contractors are involved, each party must be registered on the Central Supplier Database and their tax compliance status will be verified through the Central Supplier Database.

# SECTION 3: BACKGROUND, OVERVIEW AND SCOPE OF REQUIREMENTS

- BACKGROUND

Foskor is one of the world's largest producers of phosphate rock (concentrate) and phosphoric acid. It is one of the world's few vertically integrated producers of phosphoric acid and is the second-largest supplier to India, the world's largest consumer of phosphoric acid.

The Company owns and mines phosphate resources and beneficiates the mined materials to produce a phosphate concentrate at Phalaborwa, in the Limpopo Province of South Africa.

The phosphate concentrate is sold locally and also transported to the Richards Bay plant on the coast of Kwa-Zulu Natal to produce phosphoric acid, sulphuric acid and granular fertilizers MAP and DAP from phosphoric acid and is the leading supplier of fertilisers to South Africa. In all about 95% of the phosphoric acid is exported and the granular sales are divided between exports and local markets. Since 1951 Foskor has supplied more than 95% of South Africa fertiliser requirements.

- EXECUTIVE OVERVIEW

Whereas Foskor is seeking a partner(s) to provide solutions nationally, it also seeks to improve its current processes for providing these Goods/Services to its end user community throughout its locations.

The selected Service provider(s) must share in the mission and business objectives of Foskor.  These mutual goals will be met by meeting contractual requirements and new challenges in an environment of teamwork, joint participation, flexibility, innovation and open communications.  In this spirit of partnership, Foskor and its Supplier/Service provider(s) will study the current ways they do business to enhance current practices and support processes and systems.  Such a partnership will allow Foskor to reach higher levels of quality, service and profitability.

Specifically, Foskor seeks to benefit from this partnership in the following ways:

## Foskor must receive reduced cost of acquisition and improved service benefits resulting from the Supplier/Service provider’s economies of scale and streamlined service processes.

## Foskor must achieve appropriate availability that meets user needs while reducing costs for both Foskor and the chosen Supplier/Service provider(s).

## Foskor must receive proactive improvements from the Supplier/Service provider with respect to supply/provision of Goods/Services and related processes.

## Foskor’s overall competitive advantage must be strengthened by the chosen Supplier/Service provider’s leading-edge technology and service delivery systems.

## Foskor end users must be able to rely on the chosen Supplier/Service provider’s personnel for service enquiries, recommendations and substitutions.

## Foskor must reduce costs by streamlining its acquisition of Goods/Services, including managed service processes on a Group basis.

- SCOPE OF REQUIREMENTS

## Refer to Annexure A for detailed scope of work.

- Technical Pre-qualification

- CIDB requirement is a 4EP grading or higher

- No less than three (3) years’ experience in execution of similar Medium Voltage electrical cable installation 	projects. Provide award letters and confirmation of delivery of a similar project older than three 3 years.

- Method Statement. Contractors to submit a method statement outlining in a logical way, how the cable installations will 	be completed safely and efficiently. This should include measures to be followed to reduce all project related risks.

### Basic Requirement

- Obtain work permit

- All work includes all tools, labour, equipment, Transport, Supervision, Quality management, Project communication and management, etc

The work of this project covers the supply (unless otherwise specified), manufacture, transport to Foskor mine in Phalaborwa, installation, testing, and commissioning of the complete electrical requirements as indicated below. The Contractor will also supply the test certificates for the installation.

### -	Excavation outside the Wegsteek Substation

Excavate the area outside the Wegsteek substation as indicated in Section A of the Pricing Schedule to expose the cables currently feeding the PSZ substation

### Wegsteek to MS-1 substation cables installation

Install the cables between the Wegsteek and MS-1 substations as indicated in Sections B to D of the Pricing Schedule

### MS-1 to PSZ substations cables installation

Install the cables between the MS-1 and PSZ substations as indicated in Section E of the Pricing Schedule

### MS-1 to Drier 4&5 substations cable installation

Install the cable between the MS-1 and Drier 4&5 substations as indicated in Section F of the Pricing Schedule

### MS-1 to Conveyor 101 substations cable installation

Install the cable between the MS-1 and Conveyor 101 substations as indicated in Section G of the Pricing Schedule

### MS-1 to Secondary East substations cable installation

Install the cable between the MS-1 and Sec. West substations as indicated in Section H of the Pricing Schedule

### MS-1 to Secondary West substations cable installation

Install the cable between the MS-1 and Sec. West substations as indicated in Section I of the Pricing Schedule

### MS-1 to Primary East substations cable installation

Install the cable between the MS-1 and Pri. East substations as indicated in Section J of the Pricing Schedule

### MS-1 to Compressors RMU and transformer bay 82 cables installation

Install the cables between the MS-1 substation and the Compressors RMU and transformer bay 82 as indicated in Section K of the Pricing Schedule

### MS-1 to Workshops Transformer (bay 81) cables installation

Install the cables between the MS-1 substation and Transformer (bay 81) as indicated in Section L of the Pricing Schedule

### Kwena (or equivalent) anti-theft earthing conductors for earth continuity

Install the earthing conductors for all the installations between the MS-1 and the upstream and downstream substations as indicated in Section M of the Pricing Schedule

### Test and Commissioning

Test and commission the installation of all the cables above before handover to the Foskor Engineer as indicated in Section N of the Pricing Schedule

At the completion of all the installation, all test results will form part of the project handover.

- GREEN ECONOMY / CARBON FOOTPRINT

Foskor wishes to have an understanding of your company’s position with regard to environmental commitments, including key environmental characteristics such as waste disposal, recycling and energy conservation.  Please submit details of your entity’s policies in this regard.

- GENERAL SUPPLIER/SERVICE PROVIDER OBLIGATIONS

## The Service provider(s) shall be fully responsible to Foskor for the acts and omissions of persons directly or indirectly employed by them.

## The Service provider(s) must comply with the requirements stated in this RFP.

6. 	EVALUATION METHODOLOGY

Step 3

Administrative responsiveness

Substantive responsiveness

Weighted scoring / 100***

Returnable documents/ schedules

Pre-qualification

Technical / Functional criteria & weightings must be stipulated in the tender document

WEIGHTED SCORE

Functionality/ technical

70 points

Minimum Threshold

Step 2

Step 1

Step 4

STAGE 1:

TEST FOR RESPONSIVENESS

STAGE 2

STAGE 3

Selection of the preferred bidder.

(Objective criterion to justify award to someone other than the highest ranked bidder must have been stated in the bid documents and can be used at this stage, if applicable)

Award of business and conclusion of contract

Post tender negotiation with preferred bidder [2nd and 3rd ranked bidders (if required) in a sequential and not simultaneous manner] if pricing is not market-related

Price

(80)

BBBEE

Scorecard

(20)

MINIMUM THRESHOLDS

Step 5

Step 6

Step 7

Foskor will utilise the following methodology and criteria in selecting a preferred Service provider:

Technical Pre-qualification Criteria/minimum requirements/legal requirements

-

-

1

## NB: Evaluation of the various stages will normally take place in a sequential manner. However, in order to expedite the process, Foskor reserves the right to conduct the different steps of the evaluation process in parallel. In such instances the evaluation of bidders at any given stage must not be interpreted to mean that bidders have necessarily passed any previous stage(s).

  - STEP ONE: Test for Administrative Responsiveness

The test for administrative responsiveness will include the following:

| Administrative responsiveness check | RFP Reference |
| --- | --- |
| - Whether the Bid has been lodged on time | Section 2 paragraph 3 |
| - Whether all Returnable Documents and/or schedules [where applicable] were completed and returned by the closing date and time | Section 5 |
| - Verify the validity of all returnable documents | Section 5 |
| - Verify if the Bid document has been duly signed by the authorised respondent | All sections |

The test for administrative responsiveness [Step One] must be passed for a Respondent’s Proposal to progress to Step Two for further pre-qualification

  - STEP TWO: Test for Substantive Responsiveness to RFP

The test for substantive responsiveness to this RFP will include the following:

| Check for substantive responsiveness | RFP Reference |
| --- | --- |
| - Whether any general and legislation qualification criteria set by Foskor, have been met | All sections including: Section 2 paragraphs, 2.2, 6. |
| - Whether the Bid contains a priced offer as prescribed in the pricing and delivery schedule | Section 4 |
| - Whether the Bid materially complies with the scope and/or specification given | All Sections |
| - Proof of registration on the National Treasury Central Supplier Database (CSD) | Section 2, paragraph 13 |
| - Whether any Technical Pre-qualification Criteria/minimum requirements/legal requirements have been met as follows: - CIDB requirement is a 4EP grading or higher - No less than three (3) years’ experience in execution of similar Medium Voltage electrical cable installation projects. Provide award letters and confirmation of delivery of a similar project older than three 3 years. - Method Statement. Contractors to submit a method statement outlining in a logical way, how the cable installations will be completed safely and efficiently. This should include measures to be followed to reduce all project related risks. | Section 3 – Scope of Work Annexure A |

The test for substantive responsiveness [Step Two] must be passed for a Respondent’s proposal to progress to Step Three for further evaluation.

  - STEP THREE: Minimum Threshold points for Technical Criteria

### The test for the Technical and Functional threshold will include the following:

| Item | Technical Criteria Description | Proof / documents to be submitted | Annex No. | % Contribution |
| --- | --- | --- | --- | --- |
| 1 | Experience & Team competence |  |  |  |
| a) | Company – Previous experience in the supply, installation and commissioning of Medium Voltage (MV) Projects for electrical installations Scoring: up to 5 MV projects = 40% up to 8 MV projects = 60% more than 8 MV projects = 100% | Projects reference list indicating the following: 1. Name of project, 2. PO number, 3. Project cost, 4. Letter of completion 3. Contact numbers for verification | Annexure A | 30% |
| b) | Team - Capability to provide qualified team to execute the work at Foskor Scoring: Organogram meeting the requirements provided = 100% Organogram not meeting the requirements provided = 0% | Provide project team’s organogram indicating the size of the team to execute the work in line with the delivery timeline. Highlighting following: 1. Job title 2. Qualifications | Annexure B | 20% |
| 2 | Company Capacity |  |  |  |
| a) | Quality assurance/control plan, Quality Control Scoring: QCP provided/submitted = 100 % No QCP provided/submitted = 0 % | Provide a generic QCP for cable installation | Annexure C | 20% |
| b) | Company - Execute construction according to a pre-approved WBS / Project Schedule Scoring: Project schedule and delivery timeline provided =100 % Incomplete submission = 0% | Provide the following 1. one previous (1x) WBS/Project Schedule from a medium voltage cable installation project 2. Delivery timeline for this project | Annexure D | 15% |

| 3 | Training |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| a) | Employees qualifications and completed training Scoring: Training matrix meeting the requirements submitted =100% Inadequate training matrix = 0% | Provide the training matrix for the team as per the Annexure B organogram indicating but not limited to the following: Employee qualifications (e.g. Trade), Operating Regulations (ORHVS), Cable jointing and termination certificates, etc.. | Annexure E |  | 15% |
| Total Technical Score |  |  |  | 100% |  |
| Minimum Threshold |  |  |  | 70% |  |

Respondents are to note that Foskor will round off final technical scores to the nearest 2 (two) decimal places for the purposes of determining whether the technical threshold has been met.

The minimum threshold for technical/functionality [Step Three] must be met or exceeded for a Respondent’s Proposal to progress to Step Four for final evaluation

  - STEP FOUR: Evaluation and Final Weighted Scoring

### Price and TCO Criteria [Weighted score 80 points]:

| Evaluation Criteria | RFP Reference |
| --- | --- |
| - Commercial offer | Section 4 |
| - Commercial discounts - Price adjustment conditions / factors - Exchange rate exposure - Disbursements | Section 4 |

Foskor will utilise the following formula in its evaluation of Price:

PS = 80 1-Pt-PminPmin OR PS = 90 1-Pt-PminPmin

Where:

Ps	=	Score for the Bid under consideration

Pt	=	Price of Bid under consideration

Pmin	=	Price of lowest acceptable Bid

    - -Based Black Economic Empowerment criteria [Weighted score 20 points]

### B-BBEE - current scorecard / B-BBEE Preference Points Claims Form

### Preference points will be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table indicated in Section 4.1 of the B-BBEE Preference Points Claim Form.

  - SUMMARY: Applicable Thresholds and Final Evaluated Weightings

| Thresholds | Minimum Threshold |
| --- | --- |
| Technical / functionality | 70 |

| Evaluation Criteria | Final Weighted Scores |
| --- | --- |
| Price and Total Cost of Ownership | 80 |
| BBBE-E Scorecard | 20 |
| TOTAL SCORE: | 100 |

  - STEP FIVE: Post Tender Negotiations (if applicable)

- Respondents are to note that Foskor may not award a contract if the price offered is not market-related. In this regard, Foskor reserves the right to engage in PTN with the view to achieving a market-related price or to cancel the tender. Negotiations will be done in a sequential manner i.e.:

  - first negotiate with the highest ranked bidder or cancel the bid, should such negotiations fail,

  - negotiate with the 2nd and 3rd ranked bidders (if required) in a sequential manner.

- In the event of any Respondent being notified of such short-listed/preferred bidder status, his/her bid, as well as any subsequent negotiated best and final offers (BAFO), will automatically be deemed to remain valid during the negotiation period and until the ultimate award of business.

- Should Foskor conduct post tender negotiations, Respondents will be requested to provide their best and final offers to Foskor based on such negotiations. Where a market related price has been achieved through negotiation, the contract will be awarded to the successful Respondent(s).

  - STEP SIX: Objective Criteria (if applicable)

Foskor reserves the right to award the business to the highest scoring bidder/s unless objective criteria justify the award to another bidder. The objective criteria Foskor may apply in this bid process include:

  - the tenderer:

  - is not under restrictions, or has principals who are under restrictions, preventing participating in the employer’s procurement,

  - is not undergoing a process of being restricted by Foskor or other state institution that Foskor may be aware of,

  - can, as necessary and in relation to the proposed contract, demonstrate that he or she possesses the professional and technical qualifications, professional and technical competence, financial resources, equipment and other physical facilities, managerial capability, reliability, experience and reputation, expertise and the personnel, to perform the contract,

  - has the legal capacity to enter into the contract

  - is not insolvent, in receivership, under Business Rescue as provided for in chapter 6 of the Companies Act, 2008, bankrupt or being wound up, has his affairs administered by a court or a judicial officer, has suspended his business activities, or is subject to legal proceedings in respect of any of the foregoing,

  - complies with the legal requirements, if any, stated in the tender data and

  - is able, in the option of the employer to perform the contract free of conflicts of interest.

  - STEP SEVEN: Award of business and conclusion of contract

- Immediately after approval to award the contract has been received, the successful bidder(s) will be informed of the acceptance of his/their Bid by way of a Letter of Award. Thereafter the final contract will be concluded with the successful Respondent(s).

- A final contract will be concluded and entered into with the successful Bidder at the acceptance of a letter of award by the Respondent.

# SECTION 4: PRICING AND DELIVERY SCHEDULE

Respondents are required to complete the table, Annexure ::D

Respondents must then complete and submit the relevant Annexed Pricing Schedules with their bid.

Please refer and complete Annexure D. Pricing Schedule

| Price Schedule | Submitted by indicating (Yes or No] with a tick |  |
| --- | --- | --- |
|  | Yes | No |
| Annexure B |  |  |

Respondents are to note that Foskor will round off final pricing scores to the nearest 2 (two) decimal places.

Notes to Pricing:

### Respondents are to note that if the price offered by the highest scoring bidder is not market-related, Foskor may not award the contract to that Respondent. Foskor may-

### negotiate a market-related price with the Respondent scoring the highest points or cancel the RFP;

### if that Respondent does not agree to a market-related price, negotiate a market-related price with the Respondent scoring the second highest points or cancel the RFP;

### if the Respondent scoring the second highest points does not agree to a market-related price, negotiate a market-related price with the Respondent scoring the third highest points or cancel the RFP.

### If a market-related price is not agreed with the Respondent scoring the third highest points, Foskor must cancel the RFP.

### Prices must be quoted in South African Rand inclusive of VAT.

### Any disbursement not specifically priced for will not be considered/accepted by Foskor.

### To facilitate like-for-like comparison bidders must submit pricing strictly in accordance with this pricing schedule and not utilise a different format. Deviation from this pricing schedule could result in a bid being declared non-responsive.

### Rates proposed must be aligned with the Guide on Hourly Fee Rates for Consultants” by the Department of Public Service and Administration (DPSA);

### Quantities given are estimates only. Any orders resulting from this RFP will be on an “as and when required” basis.

### Prices are to be quoted on a delivered basis to .

### Please note that should you have offered a discounted price(s), Foskor will only consider such price discount(s) in the final evaluation stage if offered on an unconditional basis.

    - Where a Respondent’s price(s) includes imported goods/items, the rate of exchange to be used must be in South African Rands for purposes of determining whether the price is market related or not and must be the currency’s rate published by the South African Reserve Bank on the date of the advertisement of the bid:

Currency rate of exchange utilised: _________________________

    - In respect of incoterms conditions, if applicable, please refer to paragraph 25 of the General Bid Conditions which is attached to the RFP as Annexure ………………. [Complete required information or remove entire sentence if not applicable]

    - Manufacturing and delivery lead time calculated from the date of receipt of purchase order: ______ weeks.

    - Respondents, if awarded the contract, are required to indicate that their prices quoted would be kept firm and fixed for the contract duration. [Not to be confused with bid validity period Section 2, clause 1]

| YES |  |
| --- | --- |

- DISCLOSURE OF CONTRACT INFORMATION

Prices tendered

Respondents are to note that, on award of business, Foskor may be required to publish the tendered prices of the successful and unsuccessful Respondents inter alia on the National Treasury e-Tender Publication Portal, (www.etenders.gov.za), as required per National Treasury Instruction Note 01 of 2015/2016.

Johannesburg Stock Exchange Debt Listing Requirements

Foskor may also be required to disclose information relating to the subsequent contract i.e. the name of the company, goods/services provided by the company, the value and duration of the contract, etc. in compliance with the Johannesburg Stock Exchange (JSE) Debt Listing Requirements.

Domestic Prominent Influential Persons (DPIP) OR Foreign Prominent Public Officials (FPPO)

Foskor is free to procure the services of any person within or outside the Republic of South Africa in accordance with applicable legislation. Foskor shall not conduct or conclude business transactions, with any Respondents without having:

- Considered relevant governance protocols;

- Determined the DPIP or FPPO status of that counterparty; and

- Conducted a risk assessment and due diligence to assess the potential risks that may be posed by the business relationship.

| The below form contains personal information as defined in the Protection of Personal Information Act, 2013 (the “Act”). By completing the form, the signatory consents to the processing of her/his personal information in accordance with the requirements of the Act. Consent cannot unreasonably be withheld. |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Is the Respondent (Complete with a “Yes” or “No”) |  |  |  |  |  |  |  |  |  |  |  |
| A DPIP/FPPO |  |  |  | Closely Related to a DPIP/FPPO |  |  |  | Closely Associated to a DPIP/FPPO |  |  |  |
| List all known business interests, in which a DPIP/FPPO may have a direct/indirect interest or significant participation or involvement. |  |  |  |  |  |  |  |  |  |  |  |
| No | Name of Entity / Business |  | Role in the Entity / Business (Nature of interest/ Participation) |  | Shareholding % |  | Registration Number |  | Status (Mark the applicable option with an X) |  |  |
|  |  |  |  |  |  |  |  |  | Active |  | Non-Active |
| 1 |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |

Respondents declaring a commercial relationship with a DPIP or FPPO are to note that Foskor is required to annually publish on its website a list of all business contracts entered into with DPIP or FPPO. This list will include successful Respondents, if applicable.

________________________________________________________________________________

# SECTION 5: PROPOSAL FORM AND LIST OF RETURNABLE DOCUMENTS

I/We__________________________________________________________________________________

[name of entity, company, close corporation or partnership] of [full address] ______________________________________________________________________________________________________________________________________________________________________________________

carrying on business trading/operating as ___________________________________________________________________________________________

represented by_______________________________________________________________________________

in my capacity as _____________________________________________________________________________

being duly authorised thereto by a Resolution of the Board of Directors or Members or Certificate of Partners, dated _________________to enter into, sign execute and complete any documents relating to this proposal and any subsequent Agreement. The following list of persons are hereby authorised to negotiate on behalf of the abovementioned entity, should Foskor decide to enter into Post Tender Negotiations with highest ranked bidder(s).

FULL NAME(S)			CAPACITY				SIGNATURE

________________________	______________________________        ____________________

________________________	______________________________        ____________________

________________________	______________________________        ____________________

________________________	______________________________        ____________________

I/We hereby offer to supply/provide the above-mentioned Goods/Services at the prices quoted in the schedule of prices in accordance with the terms set forth in the documents listed in the accompanying schedule of RFP documents.

I/We agree to be bound by those conditions in Foskor’s:

      - Foskor Standard Terms and Conditions (which may be subject to amendment at Foskor’s discretion if applicable);

      - General Bid Conditions; and

      - any other standard or special conditions mentioned and/or embodied in this Request for Proposal.

I/We accept that unless Foskor should otherwise decide and so inform me/us in the letter of award, this Proposal [and, if any, its covering letter and any subsequent exchange of correspondence], together with Foskor’s acceptance thereof shall constitute a binding contract between Foskor and me/us.

Should Foskor decide that a formal contract should be signed and so inform me/us in a letter of award [the Letter of Award], this Proposal [and, if any, its covering letter and any subsequent exchange of correspondence] together with Foskor’s Letter of Award, shall constitute a binding contract between Foskor and me/us until the formal contract is signed.

I/We further agree that if, after I/we have been notified of the acceptance of my/our Proposal, I/we fail to enter into a formal contract if called upon to do so, or fail to commence the supply/provision of Goods/Services  within 2 [two] weeks thereafter, Foskor may, without prejudice to any other legal remedy which it may have, recover from me/us any expense to which it may have been put in calling for Proposals afresh and/or having to accept any less favourable Proposal.

Furthermore, I/we agree to a penalty clause/s which will allow Foskor to invoke a penalty against us for non-compliance with material terms of this RFP including the delayed delivery of the Goods/Services due to non-performance by ourselves, etc.

I/we agree that non-compliance with any of the material terms of this RFP, including those mentioned above, will constitute a material breach of contract and provide Foskor with cause for cancellation.

ADDRESS FOR NOTICES

The law of the Republic of South Africa shall govern any contract created by the acceptance of this RFP. The domicilium citandi et executandi shall be a place in the Republic of South Africa to be specified by the Respondent hereunder, at which all legal documents may be served on the Respondent who shall agree to submit to the jurisdiction of the courts of the Republic of South Africa. Foreign Respondents shall, therefore, state hereunder the name of their authorised representative in the Republic of South Africa who has the power of attorney to sign any contract which may have to be entered into in the event of their Proposal being accepted and to act on their behalf in all matters relating to such contract.

Respondent to indicate the details of its domicilium citandi et executandi hereunder:

Name of Entity: ______________________________________________________________________________________

Facsimile: ______________________________________________________________________________________

Address: ______________________________________________________________________________________

______________________________________________________________________________________

NOTIFICATION OF AWARD OF RFP

As soon as possible after approval to award the contract(s), the successful Respondent [the Supplier/Service provider] will be informed of the acceptance of its Proposal.  Foskor will also publish the outcome of the tender, including successful and unsuccessful bidders, in the National Treasury e-tender portal, CIDB i-tender portal (where applicable) and the Foskor website. Any unsuccessful bidder has a right to request reasons for the bid not to be successful and Foskor has a duty to provide those reasons on receipt of the request from the bidder.

VALIDITY PERIOD

Foskor requires a validity period of 180 Business Days [from closing date] against this RFP, excluding the first day and including the last day.

NAME(S) AND ADDRESS / ADDRESSES OF DIRECTOR(S) OR MEMBER(S)

The Respondent must disclose hereunder the full name(s) and address(s) of the director(s) or members of the company or close corporation [C.C.] on whose behalf the RFP is submitted.

      - Registration number of company / C.C.  __________________________________________________

      - Registered name of company / C.C.  _____________________________________________________

      - Full name(s) of director/member(s) 		Address/Addresses		ID Number(s)

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

RETURNABLE DOCUMENTS

Returnable Documents means all the documents, Sections and Annexures, as listed in the tables below. There are three types of returnable documents as indicated below and Respondents are urged to ensure that these documents are returned with their bids based on the consequences of non-submission as indicated below:

| Mandatory Returnable Documents | Failure to provide all these Mandatory Returnable Documents at the Closing Date and time of this RFP will result in a Respondent’s disqualification. |
| --- | --- |
| Returnable Documents Used for Scoring | Failure to provide all Returnable Documents used for purposes of scoring a bid, by the closing date and time of this bid will not result in a Respondent’s disqualification. However, Bidders will receive an automatic score of zero for the applicable evaluation criterion. |
| Essential Returnable Documents | Failure to provide essential Returnable Documents will result in Foskor affording Respondents a further opportunity to submit by a set deadline. Should a Respondent thereafter fail to submit the requested documents, this may result in a Respondent’s disqualification. |

All Returnable Sections, as indicated in the header and footer of the relevant pages, must be signed, stamped and dated by the Respondent.

- Mandatory Returnable Documents

Respondents are required to submit with their bid submissions the following Mandatory Returnable Documents, and also to confirm submission of these documents by so indicating [Yes or No] in the tables below:

| MANDATORY RETURNABLE DOCUMENTS | SUBMITTED [Yes/No] |
| --- | --- |
| SECTION 1: SBD1 Form |  |
| SECTION 4: Pricing and Delivery Schedule |  |
| Valid CIDB Grading Certificate |  |

- Returnable Documents Used for Scoring

In addition to the requirements of section (a) above, Respondents are further required to submit with their Proposals the following Returnable Documents Used for Scoring and also to confirm submission of these documents by so indicating [Yes or No] in the table below:

| RETURNABLE DOCUMENTS USED FOR SCORING | SU SUBMITTED [Yes or No] |
| --- | --- |
| Valid proof of Respondent’s compliance to B-BBEE requirements stipulated in Section 9 of this RFP |  |
| Technical Evaluation document on page 14, Section 3 |  |

- Essential Returnable Documents:

Over and the above the requirements of section (a) and (b) mentioned above, Respondents are further required to submit with their Proposals the following Essential Returnable Documents and also to confirm submission of these documents by so indicating [Yes or No] in the table below:

| ESSENTIAL RETURNABLE DOCUMENTS & SCHEDULES | SUBMITTED [Yes or No] |
| --- | --- |
| In the case of Joint Ventures, a copy of the Joint Venture Agreement or written confirmation of the intention to enter into a Joint Venture Agreement |  |
| Latest Financial Statements signed by your Accounting Officer or latest Audited Financial Statements plus 2 previous years |  |
| SECTION 1: SBD1 FORM |  |
| SECTION 5: Proposal Form and List of Returnable documents |  |
| SECTION 6: Certificate Of Acquaintance with RFP, Terms & Conditions & Applicable Documents |  |
| SECTION 7: RFP Declaration and Breach of Law Form |  |
| SECTION 9: B-BBEE Preference Points claim form |  |
| SECTION 10: Certificate of attendance of non-compulsory Site Meeting / RFP Briefing |  |
| SECTION 13: Protection of Personal Information |  |
| CSD Registration report |  |
| Valid Tax Clearance Certificate |  |
| Company registration Documents |  |
| Director(s) ID Copies |  |
| Share Certificate |  |
| Beneficial Ownership Certificate |  |

CONTINUED VALIDITY OF RETURNABLE DOCUMENTS

The successful Respondent will be required to ensure the validity of all returnable documents, including but not limited to its valid proof of B-BBEE status, for the duration of any contract emanating from this RFP. Should the Respondent be awarded the contract [the Agreement] and fail to present Foskor with such renewals as and when they become due, Foskor shall be entitled, in addition to any other rights and remedies that it may have in terms of the eventual Agreement, to terminate such Agreement immediately without any liability and without prejudice to any claims which Foskor may have for damages against the Respondent.

SIGNED at ___________________________ on this _____ day of __________________________ 20___

SIGNATURE OF WITNESSES				ADDRESS OF WITNESSES

1 _____________________				_______________________________________

Name _________________				_______________________________________

2 _____________________ 				_______________________________________

Name _________________	 			_______________________________________

SIGNATURE OF RESPONDENT’S AUTHORISED REPRESENTATIVE: ___________________________

NAME: ____________________________________________

DESIGNATION: _____________________________________

# SECTION 6: CERTIFICATE OF ACQUAINTANCE WITH RFP, FOSKOR STANDARD TERMS AND CONDITIONS & APPLICABLE DOCUMENTS

By signing this certificate the Respondent is deemed to acknowledge that he/she has made himself/herself thoroughly familiar with and agrees with all the conditions governing this RFP. This includes those terms and conditions contained in any printed form stated to form part hereof, including but not limited to the documents stated below. As such, Foskor SOC Ltd will recognise no claim for relief based on an allegation that the Respondent overlooked any such term or condition or failed properly to take it into account for the purpose of calculating tendered prices or any other purpose:

- Foskor’s General Bid Conditions

- Foskor Standard Terms and Conditions

- Foskor’s Supplier Integrity Pact

- Non-disclosure Agreement

- Specifications attached to this RFP

Note: Should a Respondent be successful and awarded the bid, they will be required to complete a Supplier Declaration Form for registration as a vendor onto the Foskor vendor master database.

Should the Bidder find any terms or conditions stipulated in any of the relevant documents quoted in the RFP unacceptable, it should indicate which conditions are unacceptable and offer alternatives by written submission on its company letterhead, attached to its submitted Bid.  Any such submission shall be subject to review by Foskor’s Legal Counsel who shall determine whether the proposed alternative(s) are acceptable or otherwise, as the case may be. A material deviation from any term or condition may result in disqualification.

Bidders accept that an obligation rests on them to clarify any uncertainties regarding any bid to which they intend to respond on, before submitting the bid. The Bidder agrees that he/she will have no claim or cause of action based on an allegation that any aspect of this RFP was unclear but in respect of which he/she failed to obtain clarity.

The bidder understands that his/her Bid will be disqualified if the Certificate of Acquaintance with RFP documents included in the RFP as a returnable document, is found not to be true and complete in every respect.

SIGNED at ___________________________ on this _____ day of __________________________ 20___

SIGNATURE OF WITNESSES				ADDRESS OF WITNESSES

1 _____________________				_______________________________________

Name _________________				_______________________________________

2 _____________________ 				_______________________________________

Name _________________	 			_______________________________________

SIGNATURE OF RESPONDENT’S AUTHORISED REPRESENTATIVE: ___________________________

NAME: ____________________________________________

DESIGNATION: _____________________________________

# SECTION 7: RFP DECLARATION AND BREACH OF LAW FORM

NAME OF ENTITY: __________________________________________________________________

We ___________________________________________________________ do hereby certify that:

- Foskor has supplied and we have received appropriate responses to any/all questions [as applicable] which were submitted by ourselves for RFP Clarification purposes;

- We have received all information we deemed necessary for the completion of this Request for Proposal [RFP];

- We have been provided with sufficient access to the existing Foskor facilities/sites and any and all relevant information relevant to the Goods/Services as well as Foskor information and Employees and have had sufficient time in which to conduct and perform a thorough due diligence of Foskor’s operations and business requirements and assets used by Foskor. Foskor will therefore not consider or permit any pre- or post-contract verification or any related adjustment to pricing, service levels or any other provisions/conditions based on any incorrect assumptions made by the Respondent in arriving at his Bid Price;

- At no stage have we received additional information relating to the subject matter of this RFP from Foskor sources, other than information formally received from the designated Foskor contact(s) as nominated in the RFP documents;

- We are satisfied, insofar as our entity is concerned, that the processes and procedures adopted by Foskor in issuing this RFP and the requirements requested from Bidders in responding to this RFP have been conducted in a fair and transparent manner;

- We have complied with all obligations of the Bidder/Supplier as indicated in the Foskor Supplier Integrity which includes but are not limited to ensuring that we take all measures necessary to prevent corrupt practices, unfairness and illegal activities in order to secure or in furtherance to secure a contract with Foskor;

- We declare that a family, business and/or social relationship exists / does not exist [delete as applicable] between an owner / member / director / partner / shareholder of our entity and an employee or board member of the Foskor Group including any person who may be involved in the evaluation and/or adjudication of this Bid;

- We declare that an owner / member / director / partner / shareholder of our entity is / is not [delete as applicable] an employee or board member of Foskor;

- In addition, we declare that an owner / member / director / partner / shareholder/employee of our entity has / has not been [delete as applicable] a former employee or board member of Foskor in the past 10 years. I further declare that if they were a former employee or board member of Foskor in the past 10 years that they were/were not involved in the bid preparation or had access to the information related to this RFP; and

- If such a relationship as indicated in paragraph 7, 8 and/or 9 exists, the Respondent is to complete the following section:

FULL NAME OF OWNER/MEMBER/DIRECTOR/

PARTNER/SHAREHOLDER/EMPLOYEE:						ADDRESS:

________________________________________________________________________________

________________________________________________________________________________

Indicate nature of relationship with Foskor: _______________________________________________________________________________

_______________________________________________________________________________

[Failure to furnish complete and accurate information in this regard will lead to the disqualification of a response and may preclude a Respondent from doing future business with Foskor. Information provided in the declarations may be used by Foskor and/or its affiliates to verify the correctness of the information provided]

- We declare, to the extent that we are aware or become aware of any relationship between ourselves and Foskor [other than any existing and appropriate business relationship with Foskor] which could unfairly advantage our entity in the forthcoming adjudication process, we shall notify Foskor immediately in writing of such circumstances.

BIDDER’S DISCLOSURE (SBD4)

- PURPOSE OF THE FORM

  - Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

  - Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

| - Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise, employed by the state? | YES/NO |
| --- | --- |

    - If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

| - Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? | YES/NO |
| --- | --- |
| - If so, furnish particulars: ……………………………………………………………………………. ……………………………………………………………………………. |  |
| - Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract? | YES/NO |
| - If so, furnish particulars: ……………………………………………………………………………. ……………………………………………………………………………. |  |

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

  - I have read and I understand the contents of this disclosure;

  - I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

  - The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

  - In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

  - The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

  - There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 12, 13 and 14 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

BREACH OF LAW

We further hereby certify that I/we (the bidding entity and/or any of its directors, members or partners) have/have not been [delete as applicable] found guilty during the preceding 5 [five] years of a serious breach of law, including but not limited to a breach of the Competition Act, 89 of 1998, by a court of law, tribunal or other administrative body. The type of breach that the Respondent is required to disclose excludes relatively minor offences or misdemeanours, e.g. traffic offences. This includes the imposition of an administrative fine or penalty.

Where found guilty of such a serious breach, please disclose:

NATURE OF BREACH: ____________________________________________________________________________________________________________________________________________________________

DATE OF BREACH:_____________________________

Furthermore, I/we acknowledge that Foskor SOC Ltd reserves the right to exclude any Respondent from the bidding process, should that person or entity have been found guilty of a serious breach of law, tribunal or regulatory obligation.

SIGNED at ___________________________ on this _____ day of ______________________ 20___

| For an Signed on behalf of | AS WI WITNESS: |
| --- | --- |
| __________________________________ |  |
| duly auAuthorised hereto: |  |
| Name: | Name: |
| P Position: | Positi Position: |
| Signat Signature: | SignatSignature: |
| Date: | Registration No of Company/CC |
| Place: | Registration Name of Company/CC |

# SECTION 8: RFP CLARIFICATION REQUEST FORM

RFP No:

RFP deadline for questions / RFP Clarifications: Before 12:00 pm on Monday, 30 June 2025.

TO: 		Foskor (Pty) Ltd

ATTENTION:	The Tender Administrator

EMAIL		ThandiMn@foskor.co.za

DATE:	 	_____________________________________________

FROM:		_____________________________________________

_____________________________________________

RFP Clarification No [to be inserted by Foskor]    ………

REQUEST FOR RFP CLARIFICATION

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# SECTION 9: B-BBEE PREFERENCE POINTS CLAIM FORM

This preference form must form part of all bids invited. It contains general information and serves as a claim for preference points for Broad-Based Black Economic Empowerment [B-BBEE] Status Level of Contribution.

Foskor will award preference points to companies who provide valid proof of their B-BBEE status using either the latest version of the generic Codes of Good Practice or Sector Specific Codes (if applicable).

NB: BEFORE COMPLETING THIS FORM, BIDDERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF B-BBEE, AS PRESCRIBED IN THE PREFERENTIAL PROCUREMENT REGULATIONS.

- GENERAL CONDITIONS

  - The following preference point systems are applicable to all bids:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - The value of this bid is estimated to not exceed R50 000 000 (all applicable taxes included) and therefore the   preference point system shall be applicable. Despite the stipulated preference point system, Foskor shall use the lowest acceptable bid to determine the applicable preference point system in a situation where all received acceptable bids are received outside the stated preference point system.

  - Preference points for this bid shall be awarded for:

- Price; and

- B-BBEE Status Level of Contribution.

  - The maximum points for this bid are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| B-BBEE STATUS LEVEL OF CONTRIBUTION | 20 |
| Total points for Price and B-BBEE must not exceed | 100 |

  - Failure on the part of a bidder to submit proof of B-BBEE status level of contributor together with the bid will be interpreted to mean that preference points for B-BBEE status level of contribution are not claimed.

  - The purchaser reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the purchaser.

- DEFINITIONS

- “all applicable taxes” includes value-added tax, pay as you earn, income tax, unemployment insurance fund contributions and skills development levies;

- “B-BBEE” means broad-based black economic empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act;

- “B-BBEE status level of contributor” means the B-BBEE status received by a measured entity based on its overall performance using the relevant scorecard contained in the Codes of Good Practice on Black Economic Empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act;

- “bid” means a written offer in a prescribed or stipulated form in response to an invitation by an organ of state for the supply/provision of services, works or goods, through price quotations, advertised competitive bidding processes or proposals;

- “Broad-Based Black Economic Empowerment Act” means the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

- “EME” means an Exempted Micro Enterprise as defines by Codes of Good Practice under section 9 (1) of the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

- “functionality” means the ability of a bidder to provide goods or services in accordance with specification as set out in the bid documents

- “Price” includes all applicable taxes less all unconditional discounts.

- “Proof of B-BBEE Status Level of Contributor”

i) the B-BBEE status level certificate issued by an authorised body or person;

ii) a sworn affidavit as prescribed by the B-BBEE Codes of Good Practice; or

iii) any other requirement prescribed in terms of the B-BBEE Act.

- “QSE” means a Qualifying Small Enterprise as defined by Codes of Good Practice under section 9 (1) of the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

- “Rand value” means the total estimated value of a contract in South African currency, calculated at the time of bid invitations, and includes all applicable taxes and excise duties.

- POINTS AWARDED FOR PRICE

  - THE 80/20 PREFERENCE POINT SYSTEMS

A maximum of 80 points is allocated for price on the following basis:

80/20

or

Where

Ps	=	Points scored for comparative price of bid under consideration

Pt	=	Comparative price of bid under consideration

Pmin	=	Comparative price of lowest acceptable bid

- POINTS AWARDED FOR B-BBEE STATUS LEVEL OF CONTRIBUTION

  - In terms of Regulation 6 (2) and 7 (2) of the Preferential Procurement Regulations, preference points must be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points (80/20 system) |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant contributor | 0 |

  - The table below indicates the required proof of B-BBEE status depending on the category of enterprises:

| Enterprise | B-BBEE Certificate & Sworn Affidavit |
| --- | --- |
| Large | Certificate issued by SANAS accredited verification agency |
| QSE | Certificate issued by SANAS accredited verification agency Sworn Affidavit signed by the authorised QSE representative and attested by a Commissioner of Oaths confirming annual turnover and black ownership (only black-owned QSEs - 51% to 100% Black owned) [Sworn affidavits must substantially comply with the format that can be obtained on the DTI’s website at www.dti.gov.za/economic_empowerment/bee_codes.jsp.] |
| EME | Sworn Affidavit signed by the authorised EME representative and attested by a Commissioner of Oaths confirming annual turnover and black ownership Certificate issued by CIPC (formerly CIPRO) confirming annual turnover and black ownership Certificate issued by SANAS accredited verification agency only if the EME is being measured on the QSE scorecard |

  - A trust, consortium or joint venture (including unincorporated consortia and joint ventures) must submit a consolidated B-BBEE Status Level verification certificate for every separate bid.

  - Tertiary Institutions and Public Entities will be required to submit their B-BBEE status level certificates in terms of the specialised scorecard contained in the B-BBEE Codes of Good Practice.

  - A person will not be awarded points for B-BBEE status level if it is indicated in the bid documents that such a bidder intends sub-contracting more than 25% of the value of the contract to any other enterprise that does not qualify for at least the points that such a bidder qualifies for, unless the intended sub-contractor is an EME that has the capability and ability to execute the sub-contract.

  - A person awarded a contract may not subcontract more than 25% of the value of the contract to any other enterprise that does not have an equal or higher B-BBEE status level than the person concerned, unless the contract is sub-contracted to an EME that has the capability and ability to execute the sub-contract.

  - Bidders are to note that the rules pertaining to B-BBEE verification and other B-BBEE requirements may be changed from time to time by regulatory bodies such as National Treasury or the DTI. It is the Bidder’s responsibility to ensure that his/her bid complies fully with all B-BBEE requirements at the time of the submission of the bid.

- BID DECLARATION

  - Bidders who claim points in respect of B-BBEE Status Level of Contribution must complete the following:

- B-BBEE STATUS LEVEL OF CONTRIBUTION CLAIMED IN TERMS OF PARAGRAPHS 1.4 AND 6.1

  - B-BBEE Status Level of Contribution:	.      =     ………(maximum of  20 points)

(Points claimed in respect of paragraph 6.1 must be in accordance with the table reflected in paragraph 4.1 and must be substantiated by relevant proof of B-BBEE status level of contributor.

- SUB-CONTRACTING

  - Will any portion of the contract be subcontracted?

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

    - If yes, indicate:

- What percentage of the contract will be subcontracted............…………….…………%

- The name of the sub-contractor…………………………………………………………..

- The B-BBEE status level of the sub-contractor......................................……………..

- Whether the sub-contractor is an EME or QSE.

| YES |  | NO |  |
| --- | --- | --- | --- |

(Tick applicable box)

Specify, by ticking the appropriate box, if subcontracting with an enterprise in terms of Preferential Procurement Regulations,2017:

| Designated Group: An EME or QSE which is at last 51% owned by: | EME √ | QSE √ |
| --- | --- | --- |
| Black people |  |  |
| Black people who are youth |  |  |
| Black people who are women |  |  |
| Black people with disabilities |  |  |
| Black people living in rural or underdeveloped areas or townships |  |  |
| Cooperative owned by black people |  |  |
| Black people who are military veterans |  |  |
| OR |  |  |
| Any EME |  |  |
| Any QSE |  |  |

- DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm:…………………………………………………………………………….

  - VAT registration number:……………………………………….…………………………………

  - Company registration number:…………….……………………….…………………………….

  - TYPE OF COMPANY/ FIRM

•	Partnership/Joint Venture / Consortium

•	One person business/sole proprietor

•	Close corporation

•	Company

•	(Pty) Limited

[Tick applicable box]

  - DESCRIBE PRINCIPAL BUSINESS ACTIVITIES

………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

  - COMPANY CLASSIFICATION

•	Manufacturer

•	Supplier

•	Professional Supplier/Service provider

•	Other Suppliers/Service providers, e.g. transporter, etc.

[Tick applicable box]

  - Total number of years the company/firm has been in business:……………………………

  - I/we, the undersigned, who is / are duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the B-BBEE status level of contribution indicated in paragraphs 1.4 and 6.1 of the foregoing certificate, qualifies the company/ firm for the preference(s) shown and I / we acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraph 1.4 and 6.1, the contractor may be required to furnish documentary proof to the satisfaction of the purchaser that the claims are correct;

- If a bidder submitted false information regarding its B-BBEE status level of contributor, local production and content, or any other matter required in terms of the Preferential Procurement Regulations, 2017 which will affect or has affected the evaluation of  a bid, or where a bidder has failed to declare any subcontracting arrangements or any of the conditions of contract have not been fulfilled, the purchaser may, in addition to any other remedy it may have

  - disqualify the person from the bidding process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - if the successful bidder subcontracted a portion of the bid to another person without disclosing it, Foskor reserves the right to penalise the bidder up to 10 percent of the value of the contract;

  - recommend that the bidder or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted by the National Treasury from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution.

WITNESSES

……………………………………..

…………………………………….

……………………………………….

SIGNATURE(S) OF BIDDERS(S)

DATE:	…………………………………………..

ADDRESS: …………………………………….

…………………………………….

…………………………………….

# SECTION 10: CERTIFICATE OF ATTENDANCE OF NON-COMPULSORY RFP BRIEFING

[if applicable]

It is hereby certified that –

- ___________________________________

- ___________________________________

Representative(s) of _______________________________________ [name of entity]

attended the site meeting / RFP briefing in respect of the proposed Goods/Services to be rendered in terms of this RFP on _________________________2025.

____________________________	             	______________________________

FOSKOR’S REPRESENTATIVE	      	RESPONDENT’S REPRESENTATIVE

DATE _______________________			DATE _________________________

EMAIL ________________________

NOTE:

This certificate of attendance must be filled in duplicate, one copy to be kept by Foskor and the other copy to be kept by the bidder.

# SECTION 12: SBD 5

This document must be signed and submitted together with your bid

THE NATIONAL INDUSTRIAL PARTICIPATION PROGRAMME

INTRODUCTION

The National Industrial Participation Programme (NIPP), which is applicable to all government procurement contracts that have imported content, became effective on 1 September 1996. The NIP policy and guidelines were fully endorsed by the Cabinet on 30 April 1997. In terms of the Cabinet decision, all state and parastatal purchases / lease contracts (for goods, works and services) entered into after this date, are subject to the NIPP requirements. NIPP is obligatory and therefore must be complied with. The Industrial Participation Secretariat (IPS) of the Department of Trade and Industry (DTI) is charged with the responsibility of administering the programme.

- PILLARS OF THE PROGRAMME

  - The NIPP obligation is benchmarked on the imported content of the contract. Any contract having an imported content equal to or exceeding US$5 million or other currency equivalent to US$5 million will have a NIP obligation. This threshold of US$5 million can be reached as follows:

- Any single contract with imported content exceeding US$5 million.

or

- Multiple contracts for the same goods, works or services each with imported content exceeding US$3 million awarded to one seller over a 2 year period which in total exceeds US$5 million.

or

- A contract with a renewable option clause, where should the option be exercised the total value of the imported content will exceed US$5 million.

or

- Multiple suppliers of the same goods, works or services under the same contract, where the value of the imported content of each allocation is equal to or exceeds US$ 3 million worth of goods, works or services to the same government institution, which in total over a two (2) year period exceeds US$5 million.

  - The NIP obligation applicable to suppliers in respect of sub-paragraphs 1.1 (a) to 1.1 (c) above will amount to 30% of the imported content whilst suppliers in respect of paragraph 1.1 (d) shall incur 30% of the total NIPP obligation on a pro-rata basis.

  - To satisfy the NIPP obligation, the DTI would negotiate and conclude agreements such as investments, joint ventures, sub-contracting, licensee production, export promotion, sourcing arrangements and research and development (R&D) with partners or suppliers.

  - A period of seven years has been identified as the time frame within which to discharge the obligation.

- REQUIREMENTS OF THE DEPARTMENT OF TRADE AND INDUSTRY

  - In order to ensure effective implementation of the programme, successful bidders (contractors) are required to, immediately after the award of a contract that is in excess of R10 million (ten million Rands), submit details of such a contract to the DTI for reporting purposes.

  - The purpose for reporting details of contracts in excess of the amount of R10 million (ten million Rands) is to cater for multiple contracts for the same goods, works or services; renewable contracts and multiple suppliers for the same goods, works or services under the same contract as provided for in paragraphs 1.1.(b) to 1.1. (d) above.

- BID SUBMISSION AND CONTRACT REPORTING REQUIREMENTS OF BIDDERS AND SUCCESSFUL BIDDERS (CONTRACTORS)

  - Bidders are required to sign and submit this Standard Bidding Document (SBD 5) together with their bid documentation at the closing date and time of the bid.

  - In order to accommodate multiple contracts for the same goods, works or services; renewable contracts and multiple suppliers for the same goods, works or services under the same contract as indicated in sub-paragraphs 1.1 (b) to 1.1 (d) above and to enable the DTI in determining the NIPP obligation, successful bidders (contractors) are required, immediately after being officially notified about any successful bid with a value in excess of R10 million (ten million Rands), to contact and furnish the DTI with the following information:

- Bid number;

- Description of the goods or services;

- Date on which the contract was awarded;

- Name, address and contact details of the contractor;

- Value of the contract; and

- Imported content of the contract, if possible.

  - The information required in paragraph 3.2 above must be sent to the Department of Trade and Industry, Private Bag X 84, Pretoria, 0001 for the attention of Mr Elias Malapane within five (5) working days after award of the contract. Mr Malapane may be contacted on telephone (012) 394 1401, facsimile (012) 394 2401 or e-mail at Elias@thedti.gov.za for further details about the programme.

- PROCESS TO SATISFY THE NIPP OBLIGATION

  - Once the successful bidder (contractor) has made contact with and furnished the DTI with the information required, the following steps will be followed:

- the contractor and the DTIC will determine the NIPP obligation;

- the contractor and the DTI will sign the NIPP obligation agreement;

- the contractor will submit a performance guarantee to the DTI;

- the contractor will submit a business concept for consideration and approval by the DTI;

- upon approval of the business concept by the DTI, the contractor will submit detailed business plans outlining the business concepts;

- the contractor will implement the business plans; and

- the contractor will submit bi-annual progress reports on approved plans to the DTI.

  - The NIPP obligation agreement is between the DTI and the successful bidder (contractor) and, therefore, does not involve the purchasing institution.

Bid number ………………………………….. 		Closing date: ………………………………

Name of bidder……………………………………………………………………………………

Postal address ……………………………………………………………………………………

……………………………………………………………………………………

Signature…………………………………….. 		Name (in print)……………………………..

Date…………………………………………..

# SECTION 13: PROTECTION OF PERSONAL INFORMATION

- The following terms shall bear the same meaning as contemplated in Section 1 of the Protection of Person information act, No.4 of 2013.(“POPIA”):

consent; data subject; electronic communication; information officer; operator; person; personal information; processing; record; Regulator; responsible party; special information; as well as any terms derived from these terms.

- Foskor will process all information by the Respondent in terms of the requirements contemplated in Section 4(1) of the POPIA:

Accountability; Processing limitation; Purpose specification; Further processing limitation; Information quality; Openness; Security safeguards and Data subject participation.

- The Parties acknowledge and agree that, in relation to personal information that will be processed pursuant to this RFP, the Responsible party is “Foskor” and the Data subject is the “Respondent”. Foskor will process personal information only with the knowledge and authorisation of the Respondent and will treat personal information which comes to its knowledge as confidential and will not disclose it, unless so required by law or subject to the exceptions contained in the POPIA.

- Foskor reserves all the rights afforded to it by the POPIA in the processing of any of its information as contained in this RFP and the Respondent is required to comply with all prescripts as detailed in the POPIA relating to all information concerning Foskor.

- In responding to this bid, Foskor acknowledges that it will obtain and have access to personal information of the Respondent. Foskor agrees that it shall only process the information disclosed by Respondent in their response to this bid for the purpose of evaluating and subsequent award of business and in accordance with any applicable law.

- Foskor further agrees that in submitting any information or documentation requested in this RFP, the Respondent is consenting to the further processing of their personal information for the purpose of, but not limited to, risk assessment, assurances, contract award, contract management, auditing, legal opinions/litigations, investigations (if applicable), document storage for the legislatively required period, destruction, de-identification and publishing of personal information by Foskor and/or its authorised appointed third parties.

- Furthermore, Foskor will not otherwise modify, amend or alter any personal data submitted by the Respondent or disclose or permit the disclosure of any personal data to any third party without the prior written consent from the Respondent. Similarly, Foskor requires the Respondent to process any personal information disclosed by Foskor in the bidding process in the same manner.

- Foskor shall, at all times, ensure compliance with any applicable laws put in place and maintain sufficient measures, policies and systems to manage and secure against all forms of risks to any information that may be shared or accessed pursuant to this RFP (physically, through a computer or any other form of electronic communication).

- Foskor shall notify the Respondent in writing of any unauthorised access to information, cybercrimes or suspected cybercrimes, in its knowledge and report such crimes or suspected crimes to the relevant authorities in accordance with applicable laws, after becoming aware of such crimes or suspected crime. The Respondent must take all necessary remedial steps to mitigate the extent of the loss or compromise of personal information and to restore the integrity of the affected personal information as quickly as is possible.

- The Respondent may, in writing, request Foskor to confirm and/or make available any personal information in its possession in relation to the Respondent and if such personal information has been accessed by third parties and the identity thereof in terms of the POPIA. The Respondent may further request that Foskor correct (excluding critical/mandatory or evaluation information), delete, destroy, withdraw consent or object to the processing of any personal information relating to the Respondent in Foskor’s possession in terms of the provision of the POPIA and  utilising Form 2 of the POPIA Regulations.

- In submitting any information or documentation requested in this RFP, the Respondent is hereby consenting to the processing of their personal information for the purpose of this RFP and further confirming that they are aware of their rights in terms of Section 5 of POPIA

Respondents are required to provide consent below:

| YES |  |  | NO |  |
| --- | --- | --- | --- | --- |

- Further, the Respondent declares that they have obtained all consents pertaining to other data subject’s personal information included in its submission and thereby indemnifying Foskor against any civil or criminal action, administrative fines or other penalty or loss that may arise as a result of the processing of any personal information that the Respondent submitted.

- The Respondent declares that the personal information submitted for the purpose of this RFP is complete, accurate, not misleading, is up to date and may be updated where applicable.

Signature of Respondent’s authorised representative: ___________________________

Should a Respondent have any complaints or objections to processing of its personal information, by Foskor, the Respondent can submit a complaint to the Information Regulator on https://www.justice.gov.za/inforeg/, click on contact us, click on complaints.IR@justice.gov.za

Only unconditional discounts will be taken into account during evaluation. A discount which has been offered conditionally will, despite not being taken into account for evaluation purposes, be implemented when payment is effected

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

In terms of the Implementation Guide: Preferential Procurement Regulations, 2017, Version 2, paragraph 11.11 provides that in the Transport Sector, EMEs can provide a letter from accounting officer or get verified and be issued with a B-BBEE certificate by SANAS accredited professional or agency as the Transport Sector Code has not been aligned to the generic Codes. EMEs in the Transport Sector are not allowed to provide a sworn affidavit as the generic codes are not applicable to them.